SECTION 12610 - FIXED AUDIENCE SEATING

This section includes above fixed audience seating, as produced by Hussey Seating, which is located at:

38 Dyer Street Extension, North Berwick, Maine 03906

Toll Free (USA):  1.800.341.0401

Telephone:  207.676.2271

Fax:  207.676.2222

Email:  info@husseyseating.com

Web:  www.husseyseating.com

Specifier Notes:  This product guide specification is written according to the Construction Specifications Institute (CSI) 3-Part Format, including MasterFormat, SectionFormat, and PageFormat, as described in The Project Resource Manual—CSI Manual of Practice, Fifth Edition.

This section must be carefully reviewed and edited by the Architect or Engineer to meet the requirements of the project and local building code.  Coordinate this section with other specification sections and the Drawings.  Delete or hide all “Specifier Notes” after editing this section.

Section numbers are from MasterFormat 2014 Edition.

- GENERAL

      - SUMMARY

        - Section Includes: Fixed upholstered chairs with self-rising seat mechanisms, aisle and intermediate standards. Applications include the following

Choose one or both to suite project

          - [Floor mounted chairs] [Riser mounted chairs]

          - Special applications include the following <Insert>

        - Related Sections:

Retain those sections below which cross reference information related to this section in project manual.

          - Division 16 Electrical sections for electrical wiring and connections for aisle lights.

        - Alternates:  This section specifies alternates for audience seating products.  Refer to Part 2 products for alternate products, and to Division 1 Alternates sections and other bid documents, if any, for alternate requirements.

        - Product Improvements: Hussey Seating Company strives to continuously improve its products and manufacturing methods.  The company reserves the right to make changes without notice when, in the opinion of the company, such changes improve the product or its performance.

      - REFERENCES

        - Aluminum Association (AA):

          - AA - Aluminum Structures, Construction Manual Series.

        - Americans with Disability Act (ADA)

          - ADA - Standards for Accessible Design.

        - American Institute of Steel Construction (AISC):

          - AISC - Design of Hot Rolled Steel Structural Members.

        - American Iron & Steel Institute (AISI):

          - AISI - Design Cold Formed Steel Structural Members.

        - American National Standards Institute (ANSI).

        - American Society for Testing Materials (ASTM)

          - ASTM - Standard Specification for Properties of Materials.

        - American Welding society (AWS):

          - AWS D1.1 Structural Welding Code - Steel.

          - AWS D1.3 Structural Welding Code - Sheet Steel.

        - National Bureau of Standards/Products Standard (NBS/PS):

          - PS1 - Construction and Industrial Plywood.

        - National Forest Products Association (NFPA):

          - NFPA - National Design Specification for Wood Construction.

      - MANUFACTURER'S SYSTEM ENGINEERING DESCRIPTION

        - Structural Performance:  Engineer, fabricate and install fixed audience seating to the following structural loads without exceeding allowable design working stresses of materials involved, including anchors and connection.  Apply each load to produce maximum stress in each respective component of each audience seat unit.

        - Manufacturer's System Design Criteria:

          - Seats and Backs:

            - Shall embody a timeless sculptured appearance to harmonize with any architectural form or room decor.

            - Shall exhibit moderate compound contours for supportive comfort avoiding excess anatomical pressures.

            - Seat shall be semi-cantilevered, self-centering, automatic three-quarter (3/4) lift with over center retract feature, for ease of passage and janitorial access.

            - Seat shall be tested and professionally certified through an independent testing laboratory to support and withstand an evenly distributed 600 lb.[272 Kg] static load without failure or irregularities that would impair usefulness.

            - Self-lifting seat shall be tested and professionally certified through an independent testing laboratory to withstand 350,000 operating cycles without failure of seat mechanism or measurable component wear.

            - Seat shall be tested and professionally certified to withstand 10,000 impacts of a 40 lb.[18 Kg] sandbag dropped on the center of the seat from each of the following heights: [6 inches (152mm)], [8 inches (203mm)], [10 inches (254mm)], and [12 inches (305mm)].  The rate of impacts shall be approximately 18 per minute with the total quantity of impacts equaling 40,000.

            - Back shall withstand an evenly distributed front or rear static load of 450 lbs.[205 Kg].

            - Back shall be tested and professionally certified to withstand, without failure, 40,000 swinging impacts each to the front and rear of the back by means of two opposing 40 lb. [18 Kg] sandbags.  The sandbags shall be moved horizontally and equally for 10,000 cycles each at the following distances of 6 inches [152mm], 8 inches [203mm], 10 inches [254mm], and 12 [305mm] at a rate of 35 cycles per minute.

            - Back shall withstand, without failure, an evenly distributed Horizontal Traverse Static Load of 200 lbs.[90.70Kg].  The load shall be applied to the top of the back at a 45-degree angle to the row of seats.

            - Armrests shall be tested and professionally certified to withstand, without failure, a 200 lb.[91 Kg] static load applied both perpendicular to and vertically down on the arm.

          - Materials (Flammability) shall satisfy applicable test, codes, standards, or requirements as follows:

            - Copolymer polypropylene shall have a burn rate of 1 inch [25.4mm] or less per ASTM 635.

            - Upholstery materials shall meet requirements as set forth in the state of California Bureau of Home Furnishings Technical Bulletin 117.

            - Fire-performance Characteristics of Seat Padding: Provide seating that complies with test method: California Technical Bulletin 117

            - Cushioning and padding shall be self-extinguishing as defined in the requirements as set forth in the State of California Bureau of Home Furnishings Technical Bulletin 117.

Select the following, as required.

            - Full Scale Fire Performance Characteristics of Finished Chair: Provide seating that complies with test method:  California Technical Bulletin 133 or British Standard CRIB 5

      - SUBMITTALS

        - Section Cross-Reference:  Submit required submittals in accordance with "Conditions of 		the Contract" and Division

          - General Requirements sections of this "Project Manual."

        - Project Data:  Manufacturer's product data for each system.  Include the following:

          - Project list:  Ten (10) seating projects of similar size, complexity and in service for at least five (5) years.

          - Deviations:  List of deviations from these project specifications.

        - Shop Drawings:  Indicate fixed upholstered chair seating layout.  Show all equipment to 		be furnished with details of accessories to be supplied including necessary electrical 		service to be provided by others.

        - Samples:  Seat materials and color finish as selected by Architect from manufacturers 		standard color finishes.

        - Manufacturer Qualifications:  Certification of insurance coverage and manufacturing 	experience of manufacturer.

        - Installer Qualifications:  Installer qualifications indicating capability, experience, and 		manufacturer acceptance.

        - Engineer Qualifications:  Certification by a professional engineer registered in the state 		of manufacturer that the equipment to be supplied meets or exceeds the design criteria of 		this specification.

        - Owner’s Manuals:  Provide Owner’s maintenance manual and demonstrate operating 		procedures.

        - Warranty:  Manufacturers standard five-year warranty documents.

      - QUALITY ASSURANCE

        - Welding Standards & Qualification:  Comply with AWS D1.1 Structural Welding Code - Steel and AWS D1.3 Structural Welding Code - Sheet Steel.

        - Insurance Qualifications:  Mandatory that each bidder submit with his bid an insurance certificate from the manufacturer evidencing the following insurance coverage:

          - Workers Compensation - including Employers Liability with the following limits:

            - $500,000,00 Each Accident

            - $500,000.00 Disease - Policy Limit

            - $500,000.00 Disease - Each Employee

          - Commercial General Liability - including premises/ operations, independent contractors and products completed operations liability.  Limits of liability shall not be less than $2,000,000.00

        - Manufacturer Qualifications:  Manufacturer who has 10 years of experience 		manufacturing spectator seating equipment.

        - Installer Qualifications:  Engage experienced Installer who has specialized in installation 		of audience seating similar to types required for this project and who is acceptable to, or 		certified by, fixed upholstered chair seating manufacturer.

        - Engineer Qualifications:  Engage professional licensed engineer experienced in providing 	engineering services of the kind indicated that have resulted in the successful 		installation of audience seating similar in material, design, fabrication, and extent to 		those types indicated for this project.

      - DELIVERY, STORAGE AND HANDLING

        - Deliver fixed upholstered chair seating in manufacturers packaging clearly labeled with 		manufacturer name and content.

        - Handle seating equipment in a manner to prevent damage.

        - Deliver the seating at a scheduled time for installation that will not interfere with other 		trades operating in the building.

      - PROJECT CONDITIONS

        - Field Measurements:  Coordinate actual dimensions of construction affecting fixed 		upholstered chair seating installation by accurate field measurements before fabrication.  		Show recorded measurements on final shop drawings.  Coordinate field measurements 		and fabrication schedule with construction progress to avoid delay of Work.

      - WARRANTY

        - Manufacturer's Product Warranty:  Submit manufacturer's standard warranty form for fixed upholstered chairs.  This warranty is in addition to, and not a limitation of other rights Owner may have under Contract Documents.

          - Warranty Period:  Five years from Date of Substantial Completion.

          - Beneficiary:  Issue warranty in legal name of project Owner.

          - Warranty Acceptance:  Owner is sole authority who will determine acceptance of warranty documents.

      - MAINTENANCE AND OPERATION

        - Instructions:  An owner’s manual shall be transmitted to the Owner by the manufacturer 		of the seating or his representative.

        - Service:  Maintenance and operation of the seating system shall be the responsibility of 		the Owner or his duly authorized representative, and shall include the following:

          - Only attachments specifically approved by the manufacturer for the specific 		installation shall be attached to the seating.

          - Periodic annual inspections and required maintenance of each seating system 		shall be performed according to the owner’s manual to assure safe conditions.

- PRODUCTS

Manufacturer does not recommend the use of phrases "or equal"/"or approved equal" because of differing interpretations between contracting parties.  Consider utilizing "alternate" method of specifying products for listing alternate manufacturers and products (See article 2.2 herein.)

      - MANUFACTURERS

        - Manufacturer:  Hussey Seating Company, U.S.A.

          - Address:  38 Dyer St Ext., North Berwick, Maine, 03906

          - Telephone:  (207) 676-2271; Fax:  (207) 676-9690

          - email: info@hussyseating.com

          - Product:  Hussey Quattro Art Chair System

Remove unused selections for the following sections based on manufacturer's literature and coordinate selections with drawings.

            - Chair Type/Model: [Quattro Art Series]

            - Quattro Art Series: [Art Linear] [Art Linear w/ Top Reveal] [Art Linear w/ Top Reveal & Integral Design] [Art Linear w/ Full Reveal] [Art Linear w/ Full Reveal & Integral Design] [Art Radius] [Art Radius w/ Top Reveal] [Art Radius w/ Top Reveal & Integral Design] [Art Radius w/ Full Reveal] [Art Radius w/ Full Reveal & Integral Design]

            - Back Foam: [2 inches (51mm)]
Back Height: [High: 36 inches (914mm)] [Low: 33 inches (838mm)] [

            - Back Tailoring: [Waterfall] [Horizontal] [Quilting style 1] [Quilting style 2] [Quilting style 3] [Quilting style 4]

            - Seat Type: [Standard Art]

            - Seat Widths: imperial | [19 inches (483mm)] [20 inches (508mm)] [21 inches (533mm)] [22 inches (559mm)] [23 inches (584mm)] [24 inches (610mm)]
Seat Widths: metric [19.685 inches (500mm)] [20.67 inches (525mm)] [21.65 inches (550mm)] [22.64 inches (575mm)] [23.62 inches (600mm)]

            - Seat Tailoring: [Waterfall] [Quilting style 1] [Quilting style 2] [Quilting style 3] [Quilting style 4]

            - Seat Foam: [Standard] [Plush] [Ultra Plush]

            - Armrest Type: [Linear] [Radius] [Easy Access (Ends Only)]

            - Standards: [Traditional Steel]

            - Chair Mount: [Riser Mount] [Floor Mount] [Cantilevered Floor Mount Ends] [ADA Transfer Ends]

            - End Panels: [Linear 1/2 Wrap, Standard Length] [Linear Full Wrap, Standard Length] [Radius 1/2 Wrap, Standard Length] [Radius Full Wrap, Standard Length] [1/2 Wrap, Full Length] [Full Wrap, Full Length]

            - Intermediate Panel: [None] [Full Wrap, Standard Intermediate Length]

          - Product Description/Criteria:

            - Number of Chairs: <Insert Number>

            - Number of Rows: <Insert Number>

            - Number of Wheelchair Locations: <Insert Number>

            - Number of ADA Easy Access End Standards: <Insert Number>

            - Row Spacing: <Insert Number>

            - Rise: <Insert Number>

            - Fabric: <Insert >

Make your selections for product accessories. It is strongly encouraged that the information in section 2.7 Accessories is utilized in this decision.

          - Product Accessories:

            - Row letters

              - [Standard][Ecoglo]

            - Chair numbers

              - [Standard][Ecoglo]

            - Donor Plates

              - [Brass][Aluminum]

            - Aisle lights

              - [Conduit Connection] [High mount]

            - ADA solutions

              - [Easy Access] [Armless] [Removable skids]

        - Other Acceptable Manufacturers:

          - <Insert Other Manufacturer/Product>

      - BID DOCUMENTS AND QUALIFICATIONS

Coordinate following article with related division 1 section for alternates, bid documents, and bid forms for bid type projects.

        - Base Bid:  _________

          - Base Bid Product:

          - Base Bid Product Accessories:

        - Alternate No. __:  In lieu of providing base bid product, provide the following:

          - Alternate Product:

          - Alternate Product Accessories:

        - Alternate No. __:  In lieu of providing base bid product, provide the following:

          - Alternate Product:

          - Alternate Product Accessories:

      - MATERIALS

Following article for generic/reference specification.

        - Cast Aluminum: AA - 380

        - Steel Tubing:  ASTM A513

        - Steel Sheet/Coil: ASTM A607

        - Mechanical or Adhesive Concrete Anchors: SAE grade 2

        - Exposed Hardwood Lumber:  Wood Species: Birch

        - Concealed Plywood:  Engineered Wood Association PS1-95 2000: Poplar

        - Exposed Plywood:  Hardwood Plywood ANSI/HPVA-1 2000: Birch

        - Medium Density Fiberboard:  ANSI A208-2-1986

        - Plastic Laminate:  NEMA LD3.1-1985, GP 48

        - Polyurethane Foam Padding:  ASTM D-3574

        - Fabric:  100% Marquesa Lana continuous filament Olefin in the following standard selections:

          - Fabric shall have 13 fill picks per inch, 13 warp ends per inch, weighing 16 oz. [454grams] per linear yard including backing.

          - Fabric shall have 13 fill picks per inch, 13 warp ends per inch, weighing 18 oz. [510grams] per linear yard including backing.

          - Fabric shall have 16 fill picks per inch, 19 warp ends per inch, weighing 12 oz. [340grams] per linear yard including backing.

      - DESIGN AND CONCEPT

        - Theater chairs shall be designed to exhibit a traditional appearance that will enhance any auditorium’s décor.  Seats, backs, and standards shall complement each other and integrate with decorative end and intermediate panels for a sophisticated design style.  Superior comfort will be derived through careful ergonomic engineering, selection of materials, and design of supportive structures.

Select seat type by removal of remaining options.

        - Upholstered Seats:

          - The seat assembly shall consist of a stylish padded and upholstered top surface, a ABS bottom shell with multiple contours with a external wood panel, and a dual sprung lifting mechanism. Seat shall have the ability to achieve a full fold position when rearward pressure is applied.  Superior comfort shall be derived through careful ergonomic engineering.

          - Upholstery Pad:  The upholstered seat topper shall consist of a 5/8” thick formed ply form base with contoured molded polyurethane foam padding and fabric with quilting foam creating an upholstered foam cover.  Seat padding shall be properly contoured to support the body without causing discomfort.  The upholstered seat cover shall exhibit a high degree of tailoring and will be affixed to the ABS bottom shell base with upholstery staples.

          - Seat Mechanism:  Seat lifting mechanism shall use lubricated lifting springs to provide whisper quiet fail-safe operation.  The seat structure shall rotate on a 3/4” [19mm] spanner bar to assure shaft alignment and eliminate binding due to irregular floor conditions.  Seats shall be certified to withstand 350,000 lifting cycles and a 600lb static load without failure.

Select seat cover option by removal of remaining options.

          - Seat Covers

            - [Standard Bottom Cover] The seat bottom is comprised of two components, an ABS polymer cover and an exposed finished wood seat bottom. The ABS Seat shell/bottom provides a durable yet aesthetic design while protecting the mechanical parts of the lifting hinge and upholstered seat topper.  The multiple contours of the cover provide four integrated hidden fastener connecting locations to securely apply the exposed wood seat bottom.

            - The standard Quattro Art solid core plyform seat shall be constructed of 11 separate laminations of a hardwood species with the outer veneers being maple or an equivalent species as selected from the manufacturers standard offering.  Edges of the plyform shall be uniformly routed with no abrupt discontinuities and no sharp edges with a chamfered edge around the perimeter. The plyform panel shall be stained to a color listed on the manufacturers standard color offering and all surfaces of the plyform panels shall be coated with a minimum 2 (two) layers of a urethane finish top coat. This panel is designed to be removable with a proper tool and process knowledge for chair maintenance as required over the life of the product.

            - [Standard Customization “Live Area” Bottom Wood Cover Design] The seat bottom is comprised of two components, an ABS polymer cover and an exposed finished wood seat bottom. The ABS Seat shell/bottom provides a durable yet aesthetic design while protecting the mechanical parts of the lifting hinge and upholstered seat topper.  The multiple contours of the cover provide four integrated hidden fastener connecting locations to securely apply the exposed wood seat bottom.

            - The standard Quattro Art solid core plyform seat shall be constructed of 11 separate laminations of a hardwood species with the outer veneers being maple or an equivalent species as selected from the manufacturers standard offering.  Edges of the plyform shall be uniformly routed with no abrupt discontinuities and no sharp edges with a chamfered edge around the perimeter. The plyform panel shall be stained to a color listed on the manufacturers standard color offering and all surfaces of the plyform panels shall be coated with a minimum 2 (two) layers of a urethane finish top coat. This panel is designed to be removable with a proper tool and process knowledge for chair maintenance as required over the life of the product.

            - The Quattro Art Series is created with the ability to provide product customization with in the “Live Area” of the wood seat panel. Please reference the customization process with your exclusive dealer for the design collaborative process.

Select seat foam option by removal of remaining options.

          - Seat Foam

            - Select: [Standard][Plush][Ultra Plush]

Select seat cover tailoring option by removal of remaining options.

          - Seat Cover Tailoring

            - [Standard (Waterfall)] [Quilting I][Quilting II][Quilting III][Quilting IV]

Select seat back by removal of remaining options.

        - Art Series Back

          - [Wood Veneer]

          - The outer back panel shall be constructed of hardwood inner veneers with a decorative wood veneer outer layer. The panel shall be no less than 27” in length with a fabric welt cold or quilting foam to conceal any gaps between the inner and outer panels and protect the Linear or Radius panel edge from damage. The panel shall extend below the rear of the seat to protect the chair occupants back.

          - The inner upholstered panel shall be [1/2 inches (13mm)] 11 ply thick-formed hardwood with an ergonomically engineered contour.  The wings for attachment of chair back to standard shall be not less than 14 ga (1.9mm) and will be attached via concealed fasteners.  Wings shall position the chair back at one of three positions:  12, 15, 18, or 21 degrees. There shall be no exposed fasteners above the seat. Chair back upholstery shall exhibit a high degree of workmanship and customization.

Select chair position.

            - Chair back pitch: [12 degrees] [15 degrees] [18 degrees] [21 degrees]

Select back shape and height.

            - Linear – [33 inches (838mm)]: The top corners of the back are tight ½” [13mm] radius with a clean horizontal line and parallel side walls creating a back width for each chair size providing a desired stylish clean look and a classic appearance. Overall back height of upholstery is [33 inches (838mm)] at 21-degree back pitch  allowing proper shoulder support of the chair occupant. The back surface shall be contoured to facilitate proper posture of a seated individual.

            - Linear with Top Reveal – [33 inches (838mm)]: The top corners of the back are tight ½” [13mm] radius with a clean horizontal line and parallel side walls creating a back width for each chair size providing a desired stylish clean look and a classic appearance. Overall back height of upholstery is [33 inches (838mm)] at 21-degree back pitch allowing proper shoulder support of the chair occupant. The outer back panel creates a [2 inch (51mm)] top reveal above the upholstery. The back surface shall be contoured to facilitate proper posture of a seated individual.

            - Linear with Top Reveal with Integral Design – [33 inches (838mm)]: The top corners of the back are tight [½ inch (13mm)] radius with a clean horizontal line and parallel side walls creating a back width for each chair size providing a desired stylish clean look and a classic appearance. Overall back height of upholstery is [33 inches (838mm)] at 21-degree back pitch allowing proper shoulder support of the chair occupant. The outer back panel creates a [2 inch (51mm)] top reveal above the upholstery and incorporates four equally spaced linear design elements for enhanced aesthetics. The back surface shall be contoured to facilitate proper posture of a seated individual.

            - Linear with Full Reveal – [33 inches (838mm)] The top corners of the back are tight [½ inch (13mm)] radius with a clean horizontal line and parallel side walls creating a back width for each chair size providing a desired stylish clean look and a classic appearance. Overall back height of upholstery is [33 inches (838mm)] at 21-degree back pitch allowing proper shoulder support of the chair occupant. The outer back panel creates a [2 inches (51mm)] top reveal above the upholstery and combined with the inner panel design creates a [1 inch (25mm)] side reveal on both sides of the back completing the full reveal.  The back surface shall be contoured to facilitate proper posture of a seated individual.

            - Linear with Full Reveal with Integral Design – [33 inches (838mm)]: The top corners of the back are tight [½ inch (13mm)] radius with a clean horizontal line and parallel side walls creating a back width for each chair size providing a desired stylish clean look and a classic appearance. Overall back height of upholstery is [33 inches (838mm)] at 21-degree back pitch] allowing proper shoulder support of the chair occupant. The outer back panel creates a [2 inches (51mm)] top reveal above the upholstery and combined with the inner panel design creates a [1 inch (25mm)] side reveal on both sides of the back completing the full reveal. The top reveal and incorporates four equally spaced linear design elements for enhanced aesthetics. The back surface shall be contoured to facilitate proper posture of a seated individual.

            - Linear – [36 inches (914mm)]: The top corners of the back are tight [½ inch (13mm)] radius with a clean horizontal line and parallel side walls creating a back width for each chair size providing a desired stylish clean look and a classic appearance. Overall back height of upholstery is [36 inches (914mm)] at 21-degree back pitch allowing proper shoulder support of the chair occupant. The back surface shall be contoured to facilitate proper posture of a seated individual.

            - Linear with Top Reveal – [36 inches (914mm)]: The top corners of the back are tight [½ inch (13mm)] radius with a clean horizontal line and parallel side walls creating a back width for each chair size providing a desired stylish clean look and a classic appearance. Overall back height of upholstery is [36 inches (914mm)] at 21-degree back pitch] allowing proper shoulder support of the chair occupant. The outer back panel creates a 2” [51] top reveal above the upholstery. The back surface shall be contoured to facilitate proper posture of a seated individual.

            - Linear with Top Reveal with Integral Design – [36 inches (914mm)]: The top corners of the back are tight [½ inch (13mm)] radius with a clean horizontal line and parallel side walls creating a back width for each chair size providing a desired stylish clean look and a classic appearance. Overall back height of upholstery is [36 inches (914mm)] 21-degree back pitch allowing proper shoulder support of the chair occupant. The outer back panel creates a [2 inches (51mm)] top reveal above the upholstery and incorporates four equally spaced linear design elements for enhanced aesthetics. The back surface shall be contoured to facilitate proper posture of a seated individual.

            - Linear with Full Reveal – [36 inches (914mm)]: The top corners of the back are tight [½ inch (13mm)] radius with a clean horizontal line and parallel side walls creating a back width for each chair size providing a desired stylish clean look and a classic appearance. Overall back height of upholstery is [36 inches (914mm)] at 21-degree back pitch allowing proper shoulder support of the chair occupant. The outer back panel creates a [2 inches (51mm)] top reveal above the upholstery and combined with the inner panel design creates a [1 inch (25mm)] side reveal on both sides of the back completing the full reveal. The back surface shall be contoured to facilitate proper posture of a seated individual.

            - Linear with Full Reveal with Integral Design – [36 inches (914mm)] The top corners of the back are tight [½ inch (13mm)] radius with a clean horizontal line and parallel side walls creating a back width for each chair size providing a desired stylish clean look and a classic appearance. Overall back height of upholstery is [36 inches [914mm] at 21-degree back pitch allowing proper shoulder support of the chair occupant. The outer back panel creates a [2 inch (51mm)] top reveal above the upholstery and combined with the inner panel design creates a [1 inch (25mm)] side reveal on both sides of the back completing the full reveal. The top reveal incorporates four equally spaced linear design elements for enhanced aesthetics. The back surface shall be contoured to facilitate proper posture of a seated individual.

            - Radius – [33 inches (838mm)]: The top corners of the back are [½ inch (13mm)]  radius with a clean sweeping arc and parallel side walls creating a back width for each chair size providing a desired stylish clean look and a classic appearance. Overall back height of upholstery is [33 inches (838mm)] at a 21-degree back pitch allowing proper shoulder support of the chair occupant. The back surface shall be contoured to facilitate proper posture of a seated individual.

            - Radius with Top Reveal – [33 inches (838mm)]: The top corners of the back are tight [½ inch (13mm)] radius with a clean sweeping arc and parallel side walls creating a back width for each chair size providing a desired stylish clean look and a classic appearance. Overall back height of upholstery is [33 inches (838mm)] at a 21-degree back pitch] allowing proper shoulder support of the chair occupant. The outer back panel creates a[2 inch (51mm)] top reveal above the upholstery. The back surface shall be contoured to facilitate proper posture of a seated individual.

            - Radius with Top Reveal with Integral Design – [33 inches (838mm)]: The top corners of the back are tight [½ inch (13mm)] radius with a clean sweeping arc and parallel side walls creating a back width for each chair size providing a desired stylish clean look and a classic appearance. Overall back height of upholstery is [33 inches (838mm)] at a 21-degree back pitch] allowing proper shoulder support of the chair occupant. The outer back panel creates a [2 inches (51mm)] top reveal above the upholstery and incorporates four equally spaced radius design elements for enhanced aesthetics. The back surface shall be contoured to facilitate proper posture of a seated individual.

            - Radius with Full Reveal – [33 inches (838mm)]: The top corners of the back are tight [½ inch (13mm)] radius with a clean horizontal line and parallel side walls creating a back width for each chair size providing a desired stylish clean look and a classic appearance. Overall back height of upholstery is [33 inches (838mm)] at 21-degree back pitch allowing proper shoulder support of the chair occupant. The outer back panel creates a [2 inches (51mm)] top reveal above the upholstery and combined with the inner panel design creates a [1 inch (25mm)] side reveal on both sides of the back completing the full reveal.  The back surface shall be contoured to facilitate proper posture of a seated individual.

            - Radius with Full Reveal with Integral Design – [33 inches (838mm)]: The top corners of the back are tight [½ inch (13mm)] radius with a clean sweeping arc and parallel side walls creating a back width for each chair size providing a desired stylish clean look and a classic appearance. Overall back height of upholstery is [33 inches (838mm)] at 21-degree back pitch allowing proper shoulder support of the chair occupant. The outer back panel creates a [2 inches (51mm)] top reveal above the upholstery and combined with the inner panel design creates a [1 inch (25mm)] side reveal on both sides of the back completing the full reveal. The top reveal and incorporates four equally spaced radius design elements for enhanced aesthetics. The back surface shall be contoured to facilitate proper posture of a seated individual.

            - Radius – [36 inches (914mm)]: The top corners of the back are tight [½ inch (13mm)] radius with a clean sweeping arc and parallel side walls creating a back width for each chair size providing a desired stylish clean look and a classic appearance. Overall back height of upholstery is [36 inches (914mm)] at a 21 degree back pitch allowing proper shoulder support of the chair occupant. The back surface shall be contoured to facilitate proper posture of a seated individual.

            - Radius with Top Reveal – [36 inches (914mm)]: The top corners of the back are tight [½ inch (13mm)] radius with a clean sweeping arc and parallel side walls creating a back width for each chair size providing a desired stylish clean look and a classic appearance. Overall back height of upholstery is [36 inches (914mm)] at a 21 degree back pitch allowing proper shoulder support of the chair occupant. The outer back panel creates a [2 inches (51mm)] top reveal above the upholstery. The back surface shall be contoured to facilitate proper posture of a seated individual.

            - Radius with Top Reveal with Integral Design – [36 inches (914mm)]: The top corners of the back are tight [½ inch (13mm)] radius with a clean sweeping arc and parallel side walls creating a back width for each chair size providing a desired stylish clean look and a classic appearance. Overall back height of upholstery is [36 inches (914mm)] at a 21 degree back pitch allowing proper shoulder support of the chair occupant. The outer back panel creates a [2 inch (51mm)] top reveal above the upholstery and incorporates four equally spaced radius design elements for enhanced aesthetics. The back surface shall be contoured to facilitate proper posture of a seated individual.

            - Radius with Full Reveal – [36 inches (914mm)]: The top corners of the back are tight [½ inch (13mm)] with a clean sweeping arc and parallel side walls creating a back width for each chair size providing a desired stylish clean look and a classic appearance. Overall back height of upholstery is [36 inches (914mm)] at a 21 degree back pitch allowing proper shoulder support of the chair occupant. The outer back panel creates a [2 inch (51mm)] top reveal above the upholstery and combined with the inner panel design creates a [1 inch (25mm)] side reveal on both sides of the back completing the full reveal. The back surface shall be contoured to facilitate proper posture of a seated individual.

            - Radius with Full Reveal with Integral Design – [36 inches (914mm)]: The top corners of the back are tight [½ inch (13mm)] radius with a clean sweeping arc and parallel side walls creating a back width for each chair size providing a desired stylish clean look and a classic appearance. Overall back height of upholstery is is [36 inches (914mm)] at a 21 degree back pitch allowing proper shoulder support of the chair occupant. The outer back panel creates a [2 inch (51mm)]top reveal above the upholstery and combined with the inner panel design creates a [1 inch (25mm)] side reveal on both sides of the back completing the full reveal. The top reveal incorporates four equally spaced radius design elements for enhanced aesthetics. The back surface shall be contoured to facilitate proper posture of a seated individual.

            - [Standard Customization “Live Area” Chair Back Design] The Quattro Art Series is created with the ability to provide product customization with in the “Live Area” of the back designs. Please reference the customization process with your exclusive dealer for the design collaborative process.

          - Back foam type: [2 inches (51mm) cut]

          - Back cover tailoring: [Standard - Waterfall] [Horizontal Pleat] [Quilt -I] [Quilt – II] [Quilt – III] [Quilt-IV].

Coordinate following paragraphs with selection made under product description.

        - Traditional Steel Standards:

          - Standards shall be [1 inch (25mm)] x [3 inches (76mm)] x [16 gauge(1.5mm)] seamless oval mechanical tubing.  Standards utilizing an open seam (not welded) are considered unacceptable.

          - The top of the standard shall provide for vandal resistant attachment of the armrest, without the use of exposed fasteners on the surface of the arm.

          - The floor mount steel standard has a graphite color polymer foot cover to hide the chair mounting fasteners. The polymer cover is secured by a steel mounting plate with four detents which lock into place. The steel mounting plate is securely mounted with the chair standard to the floor during installatuion.

Floor mounted standards shall have a 7 gauge [4.5mm] formed steel foot. The formed foot shall be full perimeter welded to the upright tubular member.  The floor mount standards shall be manufactured to match floor inclines in order to maintain proper seat height and angle.

Riser mounted standards shall have a 7 gauge [4.5mm] steel plate slotted to allow lateral adjustment during installation, and shall be full perimeter welded to the tubular standards.

          - Standard Mounting: [Riser Mount] [Floor Mount] [Cantilevered Floor Mount Ends] [ADA Transfer Ends]

        - Seat Hinges:

          - Seat hinges shall be fully contained within the seat pan and fitted with a pair of independent nylon bushings.

          - Each of the independent seat hinges shall be fitted with double acting; self-centering, pre-loaded coiled seat return spring.

          - Seat hinge and spring installation shall be designed not to require periodic adjustment or lubrication.

        - Finish:

          - Finish for Steel / Aluminum Components: (Indoor) Material shall be pre-treated in an iron phosphate wash system prior to finish application. Finish shall be a specially blended polyester T.G.I.C./Epoxy powder coating with a minimum dry film thickness of 1.5 mils.

          - Injection molded polypropylene or nylon:  Shall be pigmented, in one of manufacturers standard colors and have a textured surface.

          - Fabric: Upholstery material shall be 100% Marquesa Lana continuous filament Olefin yarn with one of manufacturer’s standard fabric offerings.

          - Color: Shall be per manufacturer's standards.  Seating Contractor shall submit color samples for owner's approval prior to manufacture.

Coordinate following paragraphs with selection made under product description.

        - Armrests:

          - Stained Hardwood: Armrests shall be solid hardwood without defects.  All edges shall be eased for comfort.  Armrest finish shall consist of a single coat of water base stain, followed by a sealer coat, scuff sanding, and a water base clear topcoat.  Stain shall be selected from manufacturer’s standard offerings. Armrest to be secured to standard with concealed fasteners.

          - Armrest Style: [Linear] [Radius]

      - FASTENINGS

        - Chair Assembly

          - All welds shall be made at the factory by welders that are certified on the equipment and process used.

          - All structural connections shall be made with S.A.E. stress rated zinc plated or, black oxide steel bolts, washers and nuts.

        - Concrete Floor Attachment

          - Chair stanchions shall each be attached by means of two [1/4 inch [6mm] mechanical wedge anchors set in holes drilled to a minimum depth of [2 inch (50mm)] in the concrete.

            - Wedge anchors shall be tested to ASTM E488 criteria and listed by ICBO and SBCCI. Wedge anchors feature a type 18-8 stainless steel split expansion ring and a threaded stud bolt body and integral cone expander, and a nut and washers. Stanchion shall be placed on the bolts, stanchions to be permanently secured with a flat washer, lock washer and nut.

        - Concrete Riser Attachment

          - Chair stanchions shall each be attached by means of two [3/8 inch (10mm)] threaded rods secured into concrete with a fast curing acrylic adhesive.  Adhesive and rods are set in holes drilled to a minimum depth of [2 ½ inch (64mm)] in the concrete.

          - Threaded rods shall be of approved type with zinc-plate finish or made of stainless steel to suit environmental conditions.

          - Acrylic Adhesive shall be in conformance with ASTM Type IV, Grade 3, and covered by ICBO evaluation.

          - Stanchion to be placed on the bolts, stanchions to be permanently secured with a flat washer, lock washer and nut.

        - Wood Floor Attachment.

          - Chair standards shall each be attached by means of four (4) [1/4 inch (6mm)] x [1 3/4 inch (44mm)] lag screws and flat washer set in holes drilled to a depth of not less than [1 1/2 inches (38mm)] in the wood.

Select accessories as required.  Cupholders, end panels, aisle lights, tablets, chair numbers, row letters and donor plates have multiple selections.

      - ACCESSORIES

        - End & Intermediate Privacy Panels

          - End Panels, Veneer:  End panels to be [1/2 inch (13mm)] MDF, finished with wood veneer selected from manufactures standard offering.

          - End Panel design lines to match each back pitch as required. Exposed wings are not acceptable from the side elevation.

Select end panel shape or remove section.

          - End Panel Styles:

            - [Linear 1/2 Wrap, Standard Length]

            - [Linear Full Wrap, Standard Length]

            - [Radius 1/2 Wrap, Standard Length]

            - [Radius Full Wrap, Standard Length]

            - [Quattro Art 1/2 Wrap, Full Length]

            - [Quattro Art Full Wrap, Full Length]

            - [Standard Customization “Live Area” End Panel Design] The Quattro Art Series is created with the ability to provide product customization with in the “Live Area” of the back designs. Please reference the customization process with your exclusive dealer for the design collaborative process.

            - End panels to be furnished per Plan of Seating.

Select immediate panel styles or remove section.

          - Intermediate Panel Styles:

            - [Full Wrap, Standard Length]

            - Intermediate panels to be furnished per Plan of Seating.

Select chair number style or remove section.

        - Chair Numbers:

          - Brushed Aluminum Chair Numbers:  Black text with gray background on a [23/32 inch x 2 7/32 inch (18.5mm x 56.5mm)] elliptical aluminum plate.  Plate fitted in a vandal resistant recess located in front edge of wood seat cover and secured with two brads.

          - Bronzed Anodized Aluminum Chair Numbers:  Black text with bronze background on a [23/32 inch x 2 7/32 inch (18.5mm x 56.5mm)] elliptical aluminum plate.  Plate fitted in a vandal resistant recess located in front edge of wood seat cover and secured with two brads.

          - Brass Chair Numbers:  Black text with brass background on a [23/32 inch x 2 7/32 inch (18.5mm x 56.5mm)] elliptical aluminum plate.  Plate fitted in a vandal resistant recess located in front edge of wood seat cover and secured with two brads.

          - Stainless Steel Chair Numbers:  Black text with silver background on a [23/32 inch x 2 7/32 inch (18.5mm x 56.5mm)] elliptical aluminum plate.  Plate fitted in a vandal resistant recess located in front edge of wood seat cover and secured with two brads.

          - ECOGLO Chair Numbers:  Black text with pale green background on a [23/32 inch x 2 7/32 inch (18.5mm x 56.5mm)] elliptical Aluminum plate with photo luminous coating.  Plate fitted in vandal resistant recess located in front edge of wood seat cover and secured with two brads.

Select chair number style or remove section.

        - Row Letters

          - Brushed Aluminum Row Letters:  Black text with gray background on a [23/32 inch x 2 7/32 inch (18.5mm x 56.5mm)] elliptical aluminum plate.  Plate fitted in a vandal resistant recess located in rear of armrest and secured by means of two brads.

          - Bronzed Anodized Aluminum Row Letters:  Black text with bronze background on a [23/32 inch x 2 7/32 inch (18.5mm x 56.5mm)] elliptical aluminum plate.  Plate fitted in a vandal resistant recess located in rear of armrest and secured by means of two brads.

          - Brass Row Letters:  Black text with brass background on [23/32 inch x 2 7/32 inch (18.5mm x 56.5mm)] elliptical aluminum plate.  Plate fitted in a vandal resistant recess located in rear of armrest and secured by means of two brads.

          - Stainless Steel Row Letters:  Black text with silver background on a [23/32 inch x 2 7/32 inch (18.5mm x 56.5mm)] elliptical aluminum plate.  Plate fitted in a vandal resistant recess located in rear of armrest and secured by means of two brads.

          - Brushed Aluminum Round Row Letters:  Black text with gray background on a [2 inch x dia. (51mm dia.)] round aluminum plate.  Plate fitted in a vandal resistant recess located in the top leading corner of the end panel and secured by means of two brads.

          - Bronzed Anodized Aluminum Round Row Letters:  Black text with bronze background on a [2 inch x dia. (51mm dia.)] round aluminum plate.  Plate fitted in a vandal resistant recess located in rear of armrest and secured by means of two brads.

          - Brass Round Row Letters:  Black text with brass background on [2 inch x dia. (51mm dia.)]  round aluminum plate.  Plate fitted in a vandal resistant recess located in the top leading corner of the end panel and secured by means of two brads.

          - Stainless Steel Round Row Letters:  Black text with silver background on a [2 inch x dia. (51mm dia.)] round aluminum plate.  Plate fitted in a vandal resistant recess located in the top leading corner of the end panel and secured by means of two brads.

          - ECOGLO Round Row Letters:  Black text with pale green background on a [23/32 inch x 2 7/32 inch (18.5mm x 56.5mm)] round Aluminum plate with photo luminous coating.  Plate fitted in a vandal resistant recess located in the top leading corner of the end panel and secured by means of two brads.

Select donor plate style or remove section.

        - Donor Plate

          - Brushed Aluminum Donor Plate:  [7/8 inch x 3 inches (22mm x 76mm)] oval shaped gray plate. Plate fitted in a vandal resistant recess located in the front of armrest and secured by means of two brads.

          - Bronzed Anodized Aluminum Donor Plate:  [7/8 inch x 3 inches (22mm x 76mm)] oval shaped bronze plate. Plate fitted in a vandal resistant recess located in the front of armrest and secured by means of two mechanical fasteners.

          - Brass Donor Plate:  [7/8 inch x 3 inches (22mm x 76mm)] oval shaped brass plate. Plate fitted in a vandal resistant recess located in the front of armrest and secured by means of two brads.

          - Stainless Steel Donor Plate:  [7/8 inch x 3 inches (22mm x 76mm)]  oval shaped silver plate. Plate fitted in a vandal resistant recess located in the front of armrest and secured by means of two brads.

        - Armrest, Art Series Easy Access: Armrest shall hinge on end standards to allow easy access for   disabled patrons. Swing-up end arms shall be provided for one percent of fixed seating capacity to meet the Americans with Disabilities Act (ADA).  Each accessible chair shall include the universal handicap symbol on the end aisle standard for clear identification.

        - Transfer End Standard Art Series: Aisle end stanchion shall have a lockable Quattro Art style design end panel and armrest assembly which can be unlocked and rotated without the use of tools to allow easy access into and out of the chair for disabled patrons.

        - Removable Chairs

          - Skid Mounted Chairs: Provide chairs to be floor mounted and ganged in groups of one, two, or three chair units for easy removal.  Chair standards shall be mounted to a painted steel skid base.  Skid base with chairs shall be easily removed from the concrete floor by means of flush mounted internally threaded expansion anchors positioned under each leg of the skid.  When removed, the anchor holes are filled by flat head bolts to provide a flat surface and prevent dirt and debris from entering.

Select aisle light style or remove section.

        - LED Dome Aisle Lights:

          - Aisle lights will operate from 12 volts (low voltage) requiring a transformer system (supplied by Hussey).

          - Aisle lights to be mounted onto end panel into a standard recess location.

          - Aisle light will be available in the following Kelvin Temperatures

            - Select: [2700K] [3000K] [3500K] [4000K]

          - Aisle Light are dimmable.

        - LED Strip Aisle Lights:

          - Aisle lights will operate from 12 volts (low voltage) requiring a transformer system (supplied by Hussey).

          - Aisle lights to be mounted underside the end armrest in a standard recess location.

          - Aisle light will be available in the following Kelvin Temperatures

            - Select: [3000K] [7000]

          - Aisle Light are dimmable.

- EXECUTION

      - EXAMINATION

        - Verification of Conditions:  Verify areas to receive fixed upholstered chair seating are free of impediments interfering with installation and condition of installation substrates are acceptable to receive audience seats in accordance with seating manufacturer's recommendations.  Do not commence installation until conditions are satisfactory.

      - INSTALLATION

        - Manufacturer's Recommendations:  Comply with seating manufacturer's recommendations for product installation requirements.

        - General:  Install fixed upholstered chair system in accordance with manufacturer's installation instructions and final shop drawings.  Provide accessories, anchors, fasteners, inserts and other items for installation of seating and for permanent attachment to adjoining construction.

      - ADJUSTMENT AND CLEANING

        - Adjustment:  After installation completion, all equipment is to be adjusted for smooth and proper operation.

        - Cleaning:  Clean work area and remove debris from site.

      - PROTECTION

        - General:  Provide final protection and maintain conditions, in a manner acceptable to manufacturer and installer to ensure audience seats are without damage or deterioration at time of substantial completion.

END OF SECTION